Punjab State Power Corporation Limited

(Regd. Office :PSEB Head Office, The Mall Patiala - 147001,

Corporate Identity Number : U40109PB2010SGC033813 Website: www.pspcl.in

OFFICE OF THE CHIEF ENGINEER/GGSSTP,

GURU GOBIND SINGH SUPER THERMAL PLANT ROOPNAGAR

Tender Notice

| Office | The Chief Engineer/GGSSTP,Roopnagar |
| --- | --- |
| Tender Enquiry No. & Date | 6911/P-1/EMP-11091 dated 14.7.17 |
| Issuing Authority | The Chief Engineer/GGSSTP,Roopnagar |
| Address | Dy.C.E./Monitoring,GGSSTP,Roopnagar |
| Place | Roopnagar |
| Short Description | Procurement of . Lab Chemicals , Lab Wares, Instrument Spares and other miscellaneous items for Water Laboratory of GGSSTP |
| Tender Publication | All India basis |
| Eligibility Criteria | As per terms and conditions |
| Last date of sale of tender | 22.08.16 Upto 11:00 AM |
| Last date for Bid submission | 26.08.16 Upto 11:00 AM |
| Bid Opening | 26.08.16 At 11:30 AM |
| Document Cost | Rs. 500/- |
| Payment Mode | By demand draft or Cash |
| Payment in favour of | Accounts Officer/O&M,GGSSTP,Roopnagar |
| EMD | Demand Draft in favour of Accounts Officer/O&M, GGSSTP, Roopnagar (Punjab). |
| Contact | 01881 - 275666 |
| TENDER DETAILS Sr. No. GGSSTP Code Description of Material Unit Qty 1 CH510182 Ammonium Molybdate . Make: Rankem/ Fisher/SD fine/ Ranbaxy/ Merc. Kg. 04 2 CH510190 ANS (1-Ammino. -2 Napthol -4-Sulphonic acid) . Make: Rankem/Fisher/SD fine/ Ranbaxy / Merc. Gm. 100 3 CH813602 Burrette stand with double clamp of size 30x20x75 cm appprox dual clamp for 2 burrettes. Make: Standard, Color: White / Cream; Material: PVC. No. 02 4 CH815022 CRM of Coal Cat:1031B NCCBM Ballabgarh; each set containing 3 vials , CRM developed by M/s National Council for Cement & Building Materials, Ballabgarh. Parameters: Ash, Volatile Matter, GCV, Sulfur with certificate. Certificate should be valid minimum upto Dec 2018. Set 03 5 CH813982 Conductivity cell. Make Eutech; K= 0.1; Cat: ECCNSEN72W; 1m cable, DIN connector to be compatible with Eutech Con 510 meter. No. 01 6 CH530125 Conductivity standard solution 5uS NIST traceable, with certificate. Make: LOBA / HACH / Merck / Regicon / Ranbaxy / Fisher .(with min shelf life of SIX months on day of material inspection) ml. 500 7 CH540108 Delta filter for hydrogen purity analyser. Model: delta filter, max temp (-)120F, max pressure (-)60psig for make Nova gas USA model:380K. No. 01 8 CH550101 EDTA disodium salt AR. Make: Rankem/ Fisher/ SD fine/Ranbaxy/Merc. Gm. 500 9 CH550108 Electrolyte for online chlorine gas leakage detector 5ml packing. Make: Hussani. pk 18 10 CH560103 Formaldehyde solution 38% approx. Make: Rankem / Fisher/SD fine/ Ranbaxy/ Merc. ml. 500 11 CH770105 Glass fiber filter dia 37mm pore 1.6um 100pc/pk. Make: Whatman / Minipore. pk 02 12 CH580107 Hydrogen Peroxide 30% AR. Make: Rankem/ Fisher/SD fine/Ranbaxy/Merc ml. 1000 13 CH813983 Ignition thread . Material: Cotton , Make: PARR USA; Cat No.:845DD. pk 02 14 CH813961 Fuse wire 10cm (pk of 3). Cat: 45C10 , Material: Ni-Cr alloy ,make: Parr USA. No. 01 15 CH590110 Iodine solid, Make: Rankem/Fisher/SD fine/Ranbaxy/Merc Gm. 100 16 CH510165 Iso Propynol. Make: Rankem/Fisher/SD /Fine / Ranbaxy/Merc ,2.5L pack. pk 06 17 CH812606 Lab electric kettle. Capcity: 1L (approx), concealed heating element; Single phase, Color: Black / or any dark colour, Make: Usha / Bajaj / Khaitan. No. 01 18 CH630116 Magnisium Oxide AR.Make: Rankem/ Fisher /SD fine/Ranbaxy/Merc. Gm. 500 19 CH630104 Mercuric Chloride AR.Make: Rankem/ Fisher / SD fine/Ranbaxy/Merc. Gm. 250 20 CH640101 NEDA N(1-Naphthyl)Ethylenediamine Dihydrochloride GR. Make: Rankem/ Fisher /SD fine/Ranbaxy/Merc Gm. 50 21 CH510119 Oxalic Acid.Make: Rankem/Fisher/SD fine/Ranbaxy/Merc. Gm. 5000 22 CH 510117 OrthoPhosphoric Acid 80% approx. Make: Rankem /Fisher/SD fine/Ranbaxy/Merc. ml. 500 23 CH660111 Pararosaniline hydrochloride LR. Make: Rankem/Fisher/SD fine/Ranbaxy/Merc. Gm. 25 24 CH660101 PDMA (Para Dimethyl amino benzaldehyde) . Make: Rankem/Fisher/SD fine/Ranbaxy/ Merc Gm. 100 25 CH520133 pH buffer NIST traceable standard 4.0 apprx. Make: HACH / Loba/ SD fine / Cole Parmer / Regicon ml. 500 26 CH520134 pH buffer NIST traceable standard 7.0 apprx. Make: HACH / Loba/ SD fine / Cole Parmer / Regicon ml. 500 27 CH520135 pH buffer NIST traceable standard 9.2 apprx, Make: HACH / Loba/ SD fine / Cole Parmer / Regicon ml. 500 28 CH520129 pH buffer 4.0.Make: Rankem/ Fisher/ SD fine/Ranbaxy/Merc. Amp 03 29 CH813980 pH electrode . Cat:9107BNMD;to be compatible with Orion 420+ pH meter, Epoxybody gelfilled maintanance free combined pH electrode with inbuilt temp. Make: Thermo Orion USA No. 01 30 CH610109 pH test paper strips indicator papers range 1 to 14, in plastic box. pk 20 31 CH660145 Phenol solid. Make: Rankem/Fisher/SD fine/Loba/Ranbaxy/Merc. Gm. 500 32 CH660147 Policeman polyethylene. Material: Polyethene / polypropylene; Length: 8"approx. No. 05 33 CH811406 Porcelain evaporating dish cap 100ml apprx. Material: Porcelain, Superior quality. No. 10 34 CH660128 Potassium Iodate. Make: Rankem/Fisher /SD fine/Ranbaxy/Merc. Gm. 100 35 CH660121 Potassium Iodide AR. Make: Rankem/ Fisher /SD fine/Ranbaxy/Merc. Gm. 250 36 CH660123 Potasium Metabisulphite. Make: Rankem/ Fisher/SD fine/Ranbaxy/Merc. Gm. 5000 37 CH660125 Potassium Nitrate AR.Make: Rankem/ Fisher / SD fine/Ranbaxy/Merc Gm. 500 38 CH680106 Reachargable battery for dissolved oxygen analyser. Capcity120mAH, size9V Nickle -Cadmium rechargeable. No. 02 39 CH810901 Sampling bottle(PVC) 1L . Colour: White with suitable lid. No. 42 40 CH690142 Silicone tube. Superior quality, outer dia= 9mm, inner dia=6mm(approx), color: White. mt 05 41 CH660139 Sodium Arsenite. Make: Rankem /Fisher/ SD fine/Ranbaxy/Merc. Gm. 250 42 CH690129 Sodium bicarbonate. Make: Rankem /Fisher /SD fine/Ranbaxy/Merc. Gm. 500 43 CH690106 Sodium Carbonate AR. Make: Rankem /Fisher /SD fine/Ranbaxy/Merc. Gm. 500 44 CH690111 Sodium Hydroxide AR. Make: Rankem /Fisher/SD fine/Ranbaxy/Merc. Gm. 500 45 CH690127 Sodium Hydroxide 1N ampule.Make: Rankem /Fisher/SD fine/Ranbaxy/Merc. Amp. 06 46 CH690113 Sodium Metabisulphite. Make: Rankem /Fisher/SD fine/Ranbaxy/Merc. Gm. 500 47 CH690143 Sodium Nitrite (assay >97%). Make: Rankem /Fisher/SD fine/Ranbaxy/Merc. Gm. 500 48 CH690108 Sodium Potasium Tartrate, Make: Rankem /Fisher/SD fine/Ranbaxy/Merc Gm. 1000 49 CH690117 Sodium Sulphite.Make: Rankem /Fisher/ SD fine/Ranbaxy/Merc. Gm. 500 50 CH690119 Sodium thiosulfate pentahydrate.Make: Rankem/Fisher/SD fine/Ranbaxy/Merc. Gm. 1000 51 CH814032 Standard Weight capacity 2 kg Make: Weightronics, Material: SS, Class: M1 with certificate from NABL accredited lab in name of GGSSTP Coal Testing Lab, Rupnagar No. 01 52 CH690123 Starch soluble AR, Make: Rankem / Fisher /SD fine/Ranbaxy/Merc Gm. 500 53 CH510123 Sulfuric acid fuming (Oleum 15% wt free SO3).Make: Rankem/Fisher/SD fine/ Ranbaxy /Merc/Loba. ml. 500 54 CH510127 Sulphamic Acid AR.Make: Rankem/Fisher/ SD fine/Ranbaxy/Merc Gm. 200 55 CH690125 Sulphanilamide AR. Make: Rankem/Fisher /SD fine/Ranbaxy/Merc. Gm. 500 56 CH770106 PTFE PM 2.5 membrane filter, dia 46.2mm pore 2um 50pc/pk. Material: PTFE, to be compatible with PM 2.5. Make: Whatman / Minipore. pk 04 57 CH814038 Thermocouple R type. Length=0.5 m (approx), thickness 7mm or less range 50 to 1200 deg C (or better) with compatible & attached digital indicator. Indicator resolution 0.1 deg C. Cable length approx 2 m. Should be with calibration certificate from NABL accredited lab in name of GGSSTP COAL TESTING LABORATORY, RUPNAGAR. No. 01 58 CH700119 Thorin indicator (solid). Make: Rankem/ Fisher /SD fine/Ranbaxy/Merc. Gm. 100 59 CH710101 Universal pH indicator extrapure. Make: Rankem/Fisher/SD fine/Ranbaxy/Merc (Packing of 500ml). ml. 3500 60 CH780103 Filter paper No. 41 circle dia: 12.5cm, Make: Whatman (100 No. circle/pk). pk. 02 61 CH810925 Borosilcate glass NOx bottle cap 2000 ml, Short neck, double opening. Standard taper opening 24/40. With compatible three way T-bore stopcock on main opening. With second taper Thermometer cavity. Superior borosilicate transparent glass. Design as per IS 11255:2005 (Part7) Page No.: 02 No. 02 62 CH810926 Borosilicate glass impinger. Graduated ,cap 240ml for water holding in stack monitoring kit. No. 03 63 CH810927 Borosilicate glass impinger. Graduated, cap 35ml for absorbing soln holding in PM 10 gaseous attachment. No. 10 64 CH810928 Borosilicate glass impinger . For gas collection with SMK cap 120ml, Graduated ,for silica gel holding in stack monitoring kit. No. 08 65 CH810929 Borosilicate glass impinge. For silica gel in SMK cap 120ml, Graduated , for SO2 absorbing soln holding in stack monitoring kit. No. 08 Beakers: Low form with spout double garduated capacity; borosilicate, 66 CH810405 Cap 250 ml , Borosilicate glass. No. 06 67 CH810407 Cap 500ml, Borosilicate glass. No. 06 68 CH810409 Cap 1000ml, Borosilicate glass. No. 06 Cylinder: Color comparison Nesseler flat bottom graduated: 69 CH810201 Cap 50ml, Borosilicate glass. No. 10 70 CH810203 Cap 100ml, Borosilicate glass. No. 10 Cylinder: graduated single metric scale with penny head I/C stopper with hexagonal case, 71 CH811103 Cap 100ml, Borosilicate glass . No. 12 Flask : Erlenmeyer conical flask without stopper: 72 CH811803 Cap 250 ml , Borosilicate glass. No. 12 73 CH810803 Reagent bottle. Borosilicate glass, Amber color, Cap 500ml , narrow mouth I/C flat head stopper No. 04 74 CH812308 Pippette transfer volumetric cap 10 ml. Make: Borosil Cat No.7100 accuracy as per IS1117:1975, with certificate class–A. No. 05 75 CH812309 Pippette transfer volumetric cap 20 ml. Make: Borosil Cat No.:7100 accuracy as per IS1117:1975,with certificate. class–A No. 05 76 CH811310 Volumetric flask cap 25 ml. with I/C stopper , Make:Borosil Cat:5640 acuracy as per 915:1975 with certificate Class-A. No. 10 77 CH811311 Volumetric flask cap 50 ml, with I/C stopper , Make: Borosil Cat: 5640 accuracy as per 915:1975 with certificate Class-A. No. 10 Test Sieves, 78 CH813401 Appreture size 2.36mm; frame size 45x30x10 cm (min & approx), (IS 469: 1962) Square GI frame with handles on both sides, with calibration certificate from NABL accredited lab in name of GGSSTP coal testing lab, Rupnagar. No. 01 79 CH813402 Appreture size 2.00mm; frame size 45x30x10cm (min & approx) (IS 469: 1962) Square, GI frame with handles on both sides; with calibration certificate from NABL accredited lab n name of GGSSTP coal testing lab, Rupnagar. No. 01 80 CH813403 Appreture size 4.75mm; frame size 45x30x10cm (min & approx) (IS 469: 1962) square, GI frame with handles on both sides. No. 01 81 CH813404 Apperture size 1.18mm. Circular sleve with dia 200mm, brass frame, (IS 469: 1962); Make Endecots / Aimil. No. 01 82 CH813405 Apperture size 600 micron m; Circular sieve with dia 200mm, brass frame, (IS 469:1962); Make Endecots / Aimil. No. 01 83 CH813930 200 mesh BSS, wire mesh cloth. Circular sieve with dia 200mm, brass frame, BSS or 75 micron m (IS 469:1962) or 200 mesh ASTM ; Make Endecots / Aimil. No. 02 84 CH813929 100 mesh BSS, wire mesh cloth. Circular sleve with dia 200mm, brass frame, BSS or 150 micron m (IS 469: 1962) or 100 mesh ASTM ; Make Endecots / Aimil. No. 01 85 CH813928 50 mesh BSS; wire mesh cloth. Circular sleve with dia 200mm, brass frame, BSS or 300 micron m (IS 469:1962) or 50 mesh ASTM, Make Endecots / Aimil. No. 01 86 CH813981 Grinding ball set (8 balls) for Hardgrove grindiability index instrument (as per IS 4433) Make: Malik Engg Works, Delhi. Set 01 |

TERMS AND CONDITIONS:-

- A set of tender documents containing detailed technical specifications, General instructions and terms & conditions can be obtained from Dy.C.E./Monitoring, V & P.O. Ghanauli, GGSSTP, Ropar-140113 on payment of cost by cash or demand draft drawn in favour of Accounts officer /O&M GGSSTP, Ropar payable at Ropar.

- Tender of firms which do not purchase the tender documents in advance shall not be opened.

- All tenders must be accompanied by earnest money at the rates prescribed in the tender documents except in the case of those tenderers who are specifically exempted there under.

- Telegraphic / Fax quotations shall not be accepted.

- Negotiations shall not be held excepting with the lowest tenderer.

Dy.CE /Monitoring,

For	CE/GGSSTP, Roopnagar