## Disclaimer
Agricultural DSM
DISCLAIMER |  | 2026-07-30 01:27
This model ('the Model') has been built to assess the economic cost of the selected technologies
on a case by case basis
The Model has been constructed for a specific purpose and is not intended
for distribution to third parties. Third parties who obtain copies of the Model
should be aware of the following:
· the Model may not be suitable for purposes, other than the specific purpose
for which it was designed, and the interests of third parties may not have
been anticipated;
· the Model was not intended for use by third parties and may not be designed
so that it can be readily operated in a correct manner by such parties;
· material events may have occurred since completion which are not reflected in the Model;
· whilst the Model has been tested, this may not provide an appropriate degree of assurance
for all possible uses of the Model
Model prepared by: | PriceWaterhouse Coopers Pvt. Ltd.
I have read and understood the disclaimer. Proceed to the model.
Exit

## Summary
IRR Estimation - ESCO Mode Business Model
| 0 | 1 | 2 | 3 | 4 | 5
Initial Equity in Mn Rs | -16.9075 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
Units saved by deemed approach, in MUs (at pump level) | 0 | 7.3862 | 7.3862 | 7.3862 | 7.3862 | 7.3862
Loss of sale to discom from saved units, in Mn Rs | 0 | 0 | 0 | 0 | 0 | 0
Revenue (Share of ESCO in savings), in Mn Rs. | 0 | 19.736 | 19.736 | 19.736 | 19.736 | 19.736
Employee Cost, in Mn Rs | 0 | 0.66 | 0.693 | 0.72765 | 0.76403 | 0.80223
R & M Cost, in Rs Mn | 0 | 0 | 3.6085 | 3.6085 | 3.6085 | 3.6085
Total Revenue expenditure, in Mn Rs. | 0 | -0.66 | -4.3015 | -4.3362 | -4.3726 | -4.4108
Interest on debt, in Mn Rs | 0 | -3.0434 | -2.6629 | -1.9021 | -1.1413 | -0.38042
Tax in Mn Rs | 0 | -3.2944 | -2.5092 | -3.0308 | -3.5106 | -3.9548
Net Equity Cash Flow in Mn Rs | -16.9075 | 12.7383 | 3.922 | 4.1266 | 4.3712 | 4.6497
Cummulative cashflow in Mn Rs | -16.9075 | -4.1693 | -0.24728 | 3.8793 | 8.2506 | 12.9003
Equity IRR | 29.49%
Payback | 3
IRR Estimation - DISCOM Mode Business Model
| 0 | 1 | 2 | 3 | 4 | 5
Investment on new pumps in Mn Rs | -42.2688 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
Units saved by deemed approach, in MUs (at pump level) | 0 | 7.3862 | 7.3862 | 7.3862 | 7.3862 | 7.3862
Loss of sale to discom from saved units, in Mn Rs | 0 | 0 | 0 | 0 | 0 | 0
Total revenue from sale of saved units, in Mn Rs. | 0 | 24.6701 | 24.6701 | 24.6701 | 24.6701 | 24.6701
Employee Cost, in Mn Rs | 0 | 0.66 | 0.693 | 0.72765 | 0.76403 | 0.80223
R & M Cost, in Rs Mn | 0 | 0 | 3.6085 | 3.6085 | 3.6085 | 3.6085
Total Revenue expenditure, in Mn Rs. | 0 | -0.66 | -4.3015 | -4.3362 | -4.3726 | -4.4108
Interest on debt, in Mn Rs | 0 | -5.0723 | -4.4382 | -3.1702 | -1.9021 | -0.63403
Tax in Mn Rs | 0 | 0 | 0 | 0 | 0 | 0
Net Cash Flow in Mn Rs | -42.2688 | 20.3096 | 16.668 | 16.6334 | 16.597 | 16.5588
Cummulative cashflow in Mn Rs | -42.2688 | -21.9593 | -5.2913 | 11.3421 | 27.9391 | 44.4978
Project IRR | 31.36%
Payback | 3
IRR Estimation - HYBRID Mode Business Model
| 0 | 1 | 2 | 3 | 4 | 5
Initial Equity in Mn Rs | -16.9075 | 0 | 0 | 0 | 0 | 0
Units saved by deemed approach, in MUs (at pump level) | 0 | 7.3862 | 7.3862 | 7.3862 | 7.3862 | 7.3862
Loss of sale to discom from saved units, in Mn Rs | 0 | 0 | 0 | 0 | 0 | 0
Total subsidy to discom from saved units, in Mn Rs | 0 | 18.3179 | 18.3179 | 18.3179 | 18.3179 | 18.3179
Total Revenue from sale of saved units, in Mn Rs. | 0 | 24.6701 | 24.6701 | 24.6701 | 24.6701 | 24.6701
Net Revenue from sale of saved units, in Mn Rs. | 0 | 24.6701 | 24.6701 | 24.6701 | 24.6701 | 24.6701
Payment from Special DSM fund, in Mn Rs | 0 | 11.3406 | 11.3406 | 11.3406 | 11.3406 | 11.3406
Share of ESCO in savings, in Mn Rs | 0 | 8.6345 | 8.6345 | 8.6345 | 8.6345 | 8.6345
Total revenue , in Mn Rs | 0 | 19.9751 | 19.9751 | 19.9751 | 19.9751 | 19.9751
0 | 0 | 0 | 0 | 0 | 0 | 0
Employee Cost, in Mn Rs | 0 | 0.66 | 0.693 | 0.72765 | 0.76403 | 0.80223
R & M Cost, in Rs Mn | 0 | 0 | 3.6085 | 3.6085 | 3.6085 | 3.6085
Total Revenue expenditure, in Mn Rs. | 0 | -0.66 | -4.3015 | -4.3362 | -4.3726 | -4.4108
Net Equity Cash Flow in Mn Rs | -16.9075 | 12.8961 | 4.0798 | 4.2844 | 4.5291 | 4.8075
Cummulative cashflow in Mn Rs | -16.9075 | -4.0115 | 0.068346 | 4.3527 | 8.8818 | 13.6894
Equity IRR | 31.02%
Payback | 2

## Assumptions
Assumptions: | Unit | Value
Project Scope and Unit Capital Costs:
Savings Calculation Assumptions:
kW per HP, conversion factor |  | 0.7462
Annual deterioration in efficiency for new pumps | % | 0%
Tariff(industry) | Rs
Tariff (agri) | Rs | 0
Per unit subsidy by state govt to agri | Rs | 2.48
DISCOM's power purchase cost, per kWh | Rs
Collection efficiency of subsidy from govt. | % | 100%
Collection efficiency from farmers | % | 0%
Distribution losses for Ag feeder | % | 20%
Average distribution losses for discom | % | 20%
Repair and maintenance cost as a % of pump cost | % | 10%
No of average operating hours |  | 1480
%age of new pumps added per month, as % of initial number | % | 0%
Average cost of supply, (average tariff) | Rs/ Unit | 3.34
Capital Costs:
VAT | % | 12.5%
Interest Rate | % | 12%
Equity as a % of total costs | % | 40%
Corporate tax rate | % | 33.99%
Inflation Rate | % | 0%
Manpoer cost escalation | % | 5%
Depreciation rate | % | 15%
Tariff Escalation Rate | % | 0%
Cost of bend | Rs | 50
Cost of GI pipe | Rs/m | 150
ESCO Mode Business Model - Project Funding and Benefit Sharing
Investment made by ESCO | % | 100%
Initial funding provided by DISCOM | % | 0%
Benefit sharing retained by ESCO | % | 80%
DISCOM Mode Business Model - Project Funding and Benefit Sharing
Investment made by ESCO | % | 0%
Initial funding provided by DISCOM | % | 100%
Benefit sharing retained by DISCOM | % | 85%
HYBRID Mode Business Model - Project Funding and Benefit Sharing
Investment made by ESCO | % | 100%
Initial funding provided by DISCOM | % | 0%
Benefit sharing retained by ESCO | % | 35%
Manpower Category | No.s | Cost per employee pm | Total Annual Cost
Project Manager | 1 | 15000 | 180000
Accountant | 1 | 12000 | 144000
Repair Workmen | 2 | 10000 | 240000
Call centre executive | 1 | 8000 | 96000
Total |  |  | 660000
hrs pa
feeder
kW rating
2.2386
|  |  |  | 2000 | 2000 | 2000 | 2000
3.731
|  |  |  | Bhose | Borale | Brahampuri | Nandeshwar
5.5965
|  |  |  | kWh pa consumption |  |  |  | total
|  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 7.462 |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 9.3275 |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | 11193
|  | 11.193 |  | #REF! | #REF!
#REF!
14.924
29.848
3.731

## Input sheet
HP Rating | Type of Pump | No. of pumps | Average old pump Efficiency | Average existing Input Power(kW) | Average Expected EEPS Efficiency | Revised Input Power (kW)
|  |  | efold | y
3 | Mono Block | 10 | 32.81% | 4.6008 | 56% | 2.6953
| Submersible | 2 | 36.52% | 8.3229 | 56% | 5.4275
5 | Mono Block | 1066 | 32.4% | 5.311 | 56% | 3.0727
| Submersible | 101 | 34.58% | 6.4231 | 56% | 3.9665
7.5 | Mono Block | 337 | 32.37% | 5.6123 | 56% | 3.2443
| Submersible | 576 | 40.05% | 7.9393 | 56% | 5.6777
10 | Mono Block | 21 | 26.76% | 5.045 | 56% | 2.4104
| Submersible | 48 | 41.58% | 8.3211 | 56% | 6.178
12.5 | Mono Block | 6 | 44.83% | 6.1478 | 56% | 4.9211
| Submersible | 13 | 38.57% | 11.2677 | 56% | 7.7614
15 | Mono Block | 5 | 22.57% | 5.38 | 56% | 2.1688
| Submersible | 0 |  | - | 56%
20 | Mono Block | 1 | 15.3% | 5.2947 | 56% | 1.4469
| Submersible | 0 |  | - | 56%
Total |  | 2186 |  | 79.6658 |  | 48.9706

## Calculation sheet
HP Rating | Type of Pump | Initial no. of Pumps | Additional Savings to DISCOM in LU | Existing Energy Consumption, in LUs | Energy Consumption of EEPS, in LUs | Energy Saving in LU
|  | a | as=r-s | l=a*y*h/100000
3 | Mono Block | 10 | #REF! | 0.68092 | 0.3989 | 0.28202
| Submersible | 2 | #REF! | 0.24636 | 0.16065 | 0.085705
5 | Mono Block | 1066 | #REF! | 83.7903 | 48.4772 | 35.3131
| Submersible | 101 | #REF! | 9.6013 | 5.9292 | 3.6721
7.5 | Mono Block | 337 | #REF! | 27.9921 | 16.1814 | 11.8107
| Submersible | 576 | #REF! | 67.6809 | 48.4015 | 19.2794
10 | Mono Block | 21 | #REF! | 1.568 | 0.74916 | 0.81883
| Submersible | 48 | #REF! | 5.9113 | 4.3888 | 1.5225
12.5 | Mono Block | 6 | #REF! | 0.54592 | 0.43699 | 0.10893
| Submersible | 13 | #REF! | 2.1679 | 1.4933 | 0.67461
15 | Mono Block | 5 | #REF! | 0.39812 | 0.16049 | 0.23763
| Submersible | 0 | #REF! |  | 0 | 0
20 | Mono Block | 1 | #REF! | 0.078362 | 0.021414 | 0.056947
| Submersible | 0 | #REF! |  | 0 | 0
TOTAL |  | 2186 | #REF! | 200.6615 | 126.7991 | 73.8625

## Cost estimation
HP Rating | Type of Pump | No. of pumps | Cost, Rs/ Pump | VAT | Cost Per Pump Including Vat (Rs.) | Total Cost of Energy Efficient Pump Sets (Rs. Lakhs) | Dismentaling & Installation Cost (Rs. /pump) | Total cost of Dismanling and Installation (Rs. Lakhs) | Cost of Foot Valve (Rs./pump) | Total cost of replacing foot valve (Rs. Lakhs | Scrap value of old pump, Rs/pump | Investment for purchase of new pumps, in lakhs | R& M Cost, in lakhs | Revenue from sale of old pump scrap, in lakhs
|  |  | b | [5 empty] | c |  | e | i=d*a/ 100000 |  | o= a*e/100000
3 | Mono Block | 1232 | 10800 | 12.5% | 12150 | 149.688 | 300 | 3.696 | 500 | 6.16 | 0 | 159.544 | 13.3056 | 0
| Submersible | 5 | 18000 | 12.5% | 20250 | 1.0125 | 700 | 0.035 | 0 | 0 | 0 | 1.0475 | 0.09 | 0
5 | Mono Block | 127 | 13700 | 12.5% | 15412.5 | 19.5739 | 300 | 0.381 | 500 | 0.635 | 0 | 20.5899 | 1.7399 | 0
| Submersible | 271 | 22050 | 12.5% | 24806.25 | 67.2249 | 700 | 1.897 | 0 | 0 | 0 | 69.1219 | 5.9756 | 0
7.5 | Mono Block | 56 | 17050 | 12.5% | 19181.25 | 10.7415 | 300 | 0.168 | 500 | 0.28 | 0 | 11.1895 | 0.9548 | 0
| Submersible | 343 | 26775 | 12.5% | 30121.875 | 103.318 | 700 | 2.401 | 0 | 0 | 0 | 105.719 | 9.1838 | 0
10 | Mono Block | 7 | 22800 | 12.5% | 25650 | 1.7955 | 300 | 0.021 | 500 | 0.035 | 0 | 1.8515 | 0.1596 | 0
| Submersible | 102 | 31000 | 12.5% | 34875 | 35.5725 | 700 | 0.714 | 0 | 0 | 0 | 36.2865 | 3.162 | 0
12.5 | Mono Block | 4 | 27400 | 12.5% | 30825 | 1.233 | 300 | 0.012 | 500 | 0.02 | 0 | 1.265 | 0.1096 | 0
| Submersible | 35 | 35500 | 12.5% | 39937.5 | 13.9781 | 700 | 0.245 | 0 | 0 | 0 | 14.2231 | 1.2425 | 0
15 | Mono Block | 0 | 29150 | 12.5% | 32793.75 | 0 | 300 | 0 | 500 | 0 | 0 | 0 | 0 | 0
| Submersible | 4 | 40500 | 12.5% | 45562.5 | 1.8225 | 700 | 0.028 | 0 | 0 | 0 | 1.8505 | 0.162 | 0
20 | Mono Block | 0 | 42900 | 12.5% | 48262.5 | 0 | 300 | 0 | 500 | 0 | 0 | 0 | 0 | 0
| Submersible | 0 | 45500 | 12.5% | 51187.5 | 0 | 700 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 2186 |  |  |  | 405.9605 |  | 9.598 |  | 7.13 | 0 | 422.6885 | 36.0854 | 0
144.3415
567.03

## ESCO Mode
Financial Calculations
No. of years for debt | 5
Initial Investment on Equipment, in Mn Rs. | 42.2688
Total Equity, in Mn Rs | 16.9075
Total Debt, in Mn Rs | 25.3613 |  | Equity IRR | 29.49%
Percentage of subsidy willing to be continued | 100% |  | Payback | 3
Years
| 0 | 1 | 2 | 3 | 4 | 5
Initial Equity in Mn Rs | -16.9075
Tariff, Rs/ Unit | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34
Units saved by deemed approach, in MUs (at pump level) |  | 7.3862 | 7.3862 | 7.3862 | 7.3862 | 7.3862
Units saved at feeder input level, in Mus |  | 9.2328 | 9.2328 | 9.2328 | 9.2328 | 9.2328
Units available at point of sale, in Mus |  | 7.3862 | 7.3862 | 7.3862 | 7.3862 | 7.3862
Savings in Mn Rs |  | 24.6701 | 24.6701 | 24.6701 | 24.6701 | 24.6701
Revenue from scrap of old pumps, in Mn Rs | 0
Loss of sale to discom from saved units, in Mn Rs |  | 0 | 0 | 0 | 0 | 0
Total subsidy to discom from saved units, in Mn Rs |  | 18.3179 | 18.3179 | 18.3179 | 18.3179 | 18.3179
Loss of subsidy to discom, in Mn Rs |  | 0 | 0 | 0 | 0 | 0
Total loss to discom, in Mn Rs |  | 0 | 0 | 0 | 0 | 0
Total Revenue from sale of saved units, in Mn Rs. |  | 24.6701 | 24.6701 | 24.6701 | 24.6701 | 24.6701
Revenue (Share of ESCO in savings), in Mn Rs. |  | 19.736 | 19.736 | 19.736 | 19.736 | 19.736
Employee Cost, in Mn Rs |  | 0.66 | 0.693 | 0.72765 | 0.76403 | 0.80223
R & M Cost, in Rs Mn |  | 0 | 3.6085 | 3.6085 | 3.6085 | 3.6085
Total Revenue expenditure, in Mn Rs. |  | -0.66 | -4.3015 | -4.3362 | -4.3726 | -4.4108
Interest on debt, in Mn Rs |  | -3.0434 | -2.6629 | -1.9021 | -1.1413 | -0.38042
EBDT, in Rs Mn |  | 16.0327 | 12.7716 | 13.4978 | 14.2222 | 14.9449
Depreciation, in Rs Mn |  | 6.3403 | 5.3893 | 4.5809 | 3.8938 | 3.3097
EBT, in Rs Mn |  | 9.6924 | 7.3823 | 8.9169 | 10.3285 | 11.6352
Tax in Mn Rs |  | -3.2944 | -2.5092 | -3.0308 | -3.5106 | -3.9548
Viability Gap Funding
Net Equity Cash Flow in Mn Rs | -16.9075 | 12.7383 | 3.922 | 4.1266 | 4.3712 | 4.6497
Cummulative cashflow in Mn Rs | -16.9075 | -4.1693 | -0.24728 | 3.8793 | 8.2506 | 12.9003
|  | 1 | 2 | 3 | 4 | 5
Equity IRR | 29.49%
Payback | 3
Debt Schedule
No of Years |  | 1 | 2 | 3 | 4 | 5
Debt |  | 25.3613 | 25.3613 | 19.021 | 12.6807 | 6.3403
Repayments |  | 0 | 6.3403 | 6.3403 | 6.3403 | 6.3403
Closing Debt |  | 25.3613 | 19.021 | 12.6807 | 6.3403 | 0
Average Debt |  | 25.3613 | 22.1911 | 15.8508 | 9.5105 | 3.1702
Interest Cost |  | 3.0434 | 2.6629 | 1.9021 | 1.1413 | 0.38042
Sensitivity Analysis
Percentage of Subsidy | IRR
100% | 29.49%
95% | 24.7%
90% | 19.65%
85% | 14.3%
80% | 8.556%
75% | 2.263%
70% | -4.818%
65% | -13.17%
60% | -23.95%
55% | #N/A
50% | #N/A
PSEB Cash Flow
Outflow | 0 | 0 | 0 | 0 | 0 | 0
Inflow
Percentage share retained % | 5% | 5% | 5% | 5% | 5% | 5%
Share of Savings Retained | 0 | 1.2335 | 1.2335 | 1.2335 | 1.2335 | 1.2335
Net cash flow | 0 | 1.2335 | 1.2335 | 1.2335 | 1.2335 | 1.2335
NPV, in Mn Rs | 4.4465
State govt. cash flow
Outflow
Subsidy Continued | 0 | -18.3179 | -18.3179 | -18.3179 | -18.3179 | -18.3179
Inflow
Perecntage share of savings | 15% | 15% | 15% | 15% | 15% | 15%
Share of savings | 0 | 3.7005 | 3.7005 | 3.7005 | 3.7005 | 3.7005

## DISCOM Mode
Financial Calculations
No. of years for debt | 5
No. of years for debt | 5
Initial Investment on Equipment and testing, in Mn Rs. | 42.2688
Total Debt, in Mn Rs | 42.2688
Percentage of subsidy willing to be continued | 100% |  | Project IRR | 31.36%
|  |  | Payback | 3
Years
| 0 | 1 | 2 | 3 | 4 | 5
Investment on new pumps in Mn Rs | -42.2688
Tariff, Rs/ Unit | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34
Units saved by deemed approach, in MUs (at pump level) |  | 7.3862 | 7.3862 | 7.3862 | 7.3862 | 7.3862
Units saved at feeder input level, in Mus |  | 9.2328 | 9.2328 | 9.2328 | 9.2328 | 9.2328
Units available at point of sale, in Mus |  | 7.3862 | 7.3862 | 7.3862 | 7.3862 | 7.3862
Savings in Mn Rs |  | 24.6701 | 24.6701 | 24.6701 | 24.6701 | 24.6701
Revenue from scrap of old pumps, in Mn Rs | 0
Loss of sale to discom from saved units, in Mn Rs |  | 0 | 0 | 0 | 0 | 0
Total subsidy to discom from saved units, in Mn Rs |  | 18.3179 | 18.3179 | 18.3179 | 18.3179 | 18.3179
Loss of subsidy to discom, in Mn Rs |  | 0 | 0 | 0 | 0 | 0
Total loss to discom, in Mn Rs |  | 0 | 0 | 0 | 0 | 0
Total revenue from sale of saved units, in Mn Rs. |  | 24.6701 | 24.6701 | 24.6701 | 24.6701 | 24.6701
Net Revenue, in Mn Rs. |  | 20.9696 | 20.9696 | 20.9696 | 20.9696 | 20.9696
Employee Cost, in Mn Rs |  | 0.66 | 0.693 | 0.72765 | 0.76403 | 0.80223
R & M Cost, in Rs Mn |  | 0 | 3.6085 | 3.6085 | 3.6085 | 3.6085
Total Revenue expenditure, in Mn Rs. |  | -0.66 | -4.3015 | -4.3362 | -4.3726 | -4.4108
Interest on debt, in Mn Rs |  | -5.0723 | -4.4382 | -3.1702 | -1.9021 | -0.63403
EBDT, in Rs Mn |  | 15.2373 | 12.2298 | 13.4632 | 14.6949 | 15.9247
Depreciation, in Rs Mn |  | 6.3403 | 5.3893 | 4.5809 | 3.8938 | 3.3097
EBT, in Rs Mn |  | 8.897 | 6.8405 | 8.8823 | 10.8011 | 12.6151
Tax in Mn Rs |  | 0 | 0 | 0 | 0 | 0
Net Cash Flow in Mn Rs | -42.2688 | 20.3096 | 16.668 | 16.6334 | 16.597 | 16.5588
Cummulative cashflow in Mn Rs | -42.2688 | -21.9593 | -5.2913 | 11.3421 | 27.9391 | 44.4978
|  | 1 | 2 | 3 | 4 | 5
Project IRR | 31.36%
Payback | 3
Debt Schedule
No of Years |  | 1 | 2 | 3 | 4 | 5
Debt |  | 42.2688 | 42.2688 | 31.7016 | 21.1344 | 10.5672
Repayments |  | 0 | 10.5672 | 10.5672 | 10.5672 | 10.5672
Closing Debt |  | 42.2688 | 31.7016 | 21.1344 | 10.5672 | 0
Average Debt |  | 42.2688 | 36.9852 | 26.418 | 15.8508 | 5.2836
Interest Cost |  | 5.0723 | 4.4382 | 3.1702 | 1.9021 | 0.63403
Sensitivity Analysis
Percentage of Subsidy | IRR
100% | 31.36%
95% | 28.92%
90% | 26.44%
85% | 23.92%
80% | 21.35%
75% | 18.72%
70% | 16.04%
65% | 13.29%
60% | 10.46%
55% | 7.547%
50% | 4.531%
State govt. cash flow
Outflow
Subsidy Continued | 0 | -18.3179 | -18.3179 | -18.3179 | -18.3179 | -18.3179
Inflow
Percentage share of savings | 15% | 15% | 15% | 15% | 15% | 15%
Share of savings | 0 | 3.7005 | 3.7005 | 3.7005 | 3.7005 | 3.7005

## Hybrid Mode
Financial Calculations
No. of years for debt | 5
Initial Investment on Equipment, in Mn Rs. | 42.2688
Total Equity, in Mn Rs | 16.9075
Total Debt, in Mn Rs | 25.3613 |  | Equity IRR | 31.02%
Percentage of subsidy willing to be continued | 100% |  | Payback | 2
Years
| 0 | 1 | 2 | 3 | 4 | 5
Initial Equity in Mn Rs | -16.9075
Tariff, Rs/ Unit | 3.34 | 3.34 | 3.34 | 3.34 | 3.34 | 3.34
Units saved by deemed approach, in MUs (at pump level) |  | 7.3862 | 7.3862 | 7.3862 | 7.3862 | 7.3862
Units saved at feeder input level, in Mus |  | 9.2328 | 9.2328 | 9.2328 | 9.2328 | 9.2328
Units available at point of sale, in Mus |  | 7.3862 | 7.3862 | 7.3862 | 7.3862 | 7.3862
Savings in Mn Rs |  | 24.6701 | 24.6701 | 24.6701 | 24.6701 | 24.6701
Revenue from scrap of old pumps, in Mn Rs | 0
Loss of sale to discom from saved units, in Mn Rs |  | 0 | 0 | 0 | 0 | 0
Total subsidy to discom from saved units, in Mn Rs | 0 | 18.3179 | 18.3179 | 18.3179 | 18.3179 | 18.3179
Loss of subsidy to discom, in Mn Rs |  | 0 | 0 | 0 | 0 | 0
Total loss to discom, in Mn Rs |  | 0 | 0 | 0 | 0 | 0
Total Revenue from sale of saved units, in Mn Rs. |  | 24.6701 | 24.6701 | 24.6701 | 24.6701 | 24.6701
Net Revenue from sale of saved units, in Mn Rs. |  | 24.6701 | 24.6701 | 24.6701 | 24.6701 | 24.6701
Payment from Special DSM fund, in Mn Rs |  | 11.3406 | 11.3406 | 11.3406 | 11.3406 | 11.3406
Share of ESCO in savings, in Mn Rs |  | 8.6345 | 8.6345 | 8.6345 | 8.6345 | 8.6345
Total revenue , in Mn Rs |  | 19.9751 | 19.9751 | 19.9751 | 19.9751 | 19.9751
Employee Cost, in Mn Rs |  | 0.66 | 0.693 | 0.72765 | 0.76403 | 0.80223
R & M Cost, in Rs Mn |  | 0 | 3.6085 | 3.6085 | 3.6085 | 3.6085
Total Revenue expenditure, in Mn Rs. |  | -0.66 | -4.3015 | -4.3362 | -4.3726 | -4.4108
Interest on debt, in Mn Rs |  | -3.0434 | -2.6629 | -1.9021 | -1.1413 | -0.38042
EBDT, in Rs Mn |  | 16.2718 | 13.0106 | 13.7368 | 14.4613 | 15.1839
Depreciation, in Rs Mn |  | 6.3403 | 5.3893 | 4.5809 | 3.8938 | 3.3097
EBT, in Rs Mn |  | 9.9314 | 7.6214 | 9.1559 | 10.5675 | 11.8742
Tax in Mn Rs |  | -3.3757 | -2.5905 | -3.1121 | -3.5919 | -4.0361
Viability Gap Funding
Net Equity Cash Flow in Mn Rs | -16.9075 | 12.8961 | 4.0798 | 4.2844 | 4.5291 | 4.8075
Cummulative cashflow in Mn Rs | -16.9075 | -4.0115 | 0.068346 | 4.3527 | 8.8818 | 13.6894
|  | 1 | 2 | 3 | 4 | 5
Equity IRR | 31.02%
Payback | 2
Debt Schedule
No of Years |  | 1 | 2 | 3 | 4 | 5
Debt |  | 25.3613 | 25.3613 | 19.021 | 12.6807 | 6.3403
Repayments |  | 0 | 6.3403 | 6.3403 | 6.3403 | 6.3403
Closing Debt |  | 25.3613 | 19.021 | 12.6807 | 6.3403 | 0
Average Debt |  | 25.3613 | 22.1911 | 15.8508 | 9.5105 | 3.1702
Interest Cost |  | 3.0434 | 2.6629 | 1.9021 | 1.1413 | 0.38042
Sensitivity Analysis
Percentage of Subsidy | IRR
100% | 31.02%
95% | 28.97%
90% | 26.89%
85% | 24.76%
80% | 22.59%
75% | 20.37%
70% | 18.09%
65% | 15.75%
60% | 13.34%
55% | 10.85%
50% | 8.263%
PSEB Cash Flow
Outflow | 0 | -11.3406 | -11.3406 | -11.3406 | -11.3406 | -11.3406
Inflow
Percentage share retained % | 50% | 50% | 50% | 50% | 50% | 50%
Share of Savings Retained | 0 | 12.335 | 12.335 | 12.335 | 12.335 | 12.335
Net cash flow | 0 | 0.99443 | 0.99443 | 0.99443 | 0.99443 | 0.99443
NPV, in Mn Rs | 3.5847
State govt. cash flow
Outflow
Subsidy Continued | 0 | -18.3179 | -18.3179 | -18.3179 | -18.3179 | -18.3179
Inflow
Perecntage share of savings | 15% | 15% | 15% | 15% | 15% | 15%
Share of savings | 0 | 3.7005 | 3.7005 | 3.7005 | 3.7005 | 3.7005