ALL TIME RECORD ACHIEVEMENTS OF GGSSTP

(6x210 MW, NOW W.E.F 1-1-18  4X210MW)

1. Station: Best Ever Yearly Records.

| Sr. No. | Parameter | Year | Value |
| --- | --- | --- | --- |
| 1 | Highest Generation | 2009-10 | 10056.35 MUs |
| 2 | Highest Pant Load Factor | 2009-10 | 91.11% |
| 3 | Highest Plant Availability Factor | 2010-11 | 92.69% |
| 4 | Lowest No. of Trippings | 2015-16 | 16 Nos. |
| 5 | Lowest No. of Trippings + Outages | 2015-16 | 35 Nos. |
| 6 | Lowest Specific Coal Consumption | 2012-13 | 0.625 Kg/ Kwh |
| 7 | Lowest Specific Oil Consumption | 2010-11 | 0.37 ml/ Kwh |
| 8 | Lowest DM Water Consumption | 2012-13 | 1.13% |
| 9 | Lowest Auxiliary Consumption | 2001-02 | 7.96% |
| 10 | Lowest Heat Rate | 2012-13 | 2537.77 Kcal/Kwh |
| 11 | Highest Efficiency | 2012-13 | 33.89% |

2. Units: Best Ever Yearly Records.

| Sr. No. | Parameter | Year | Generation | PLF |
| --- | --- | --- | --- | --- |
| 1 | Unit-1 Highest Generation & PLF | 2009-10 | 1739.96 MUs | 94.58% |
| 2 | Unit-2 Highest Generation & PLF | 2007-08 | 1803.81 MUs | 97.78% |
| 3 | Unit-3 Highest Generation & PLF | 2008-09 | 1721.83 MUs | 93.60% |
| 4 | Unit-4 Highest Generation & PLF | 2006-07 | 1752.54 MUs | 95.26% |
| 5 | Unit-5 Highest Generation & PLF | 2009-10 | 1776.61 MUs | 96.58 % |
| 6 | Unit-6 Highest Generation & PLF | 2010-11 | 1778.98 MUs | 96.70% |

3. Station: Best Ever Monthly Records.

| Sr. No. | Parameter | Month | Value |
| --- | --- | --- | --- |
| 1 | Highest Generation | Aug-2009 | 933.75 MUs |
| 2 | Highest Plant Load Factor | Aug-2009 | 99.61% |
| 3 | Lowest No. of Trippings | May-11, Aug-13, Oct-13, May-14, Nov-14, Nov-15, Jan-16, Mar-16, Aug-16, Jan-17, Feb-17, Jun-17, Mar-17, Feb-18 & Mar-18 | 0 (Zero) |

4. Units: Best Ever Monthly Records.

| Sr. No. | Parameter | Month/Year | Generation | PLF |
| --- | --- | --- | --- | --- |
| 1 | Unit-1 Highest Generation & PLF | Jan-2007 | 157.68 MUs | 100.92% |
| 2 | Unit-2 Highest Generation & PLF | Dec-2006 | 157.35 MUs | 100.71% |
| 3 | Unit-3 Highest Generation & PLF | Aug-2009 | 159.02 MUs | 101.78% |
| 4 | Unit-4 Highest Generation & PLF | Nov-2012 | 162.14 MUs | 107.24% |
| 5 | Unit-5 Highest Generation & PLF | Nov-2011 | 153.36 MUs | 101.43% |
| 6 | Unit-6 Highest Generation & PLF | Jan-2011 | 157.72 MUs | 100.95% |

5. Record Continuous Running of Units without Tripping.

| Sr. No. | Unit | Year | From {Date (Hours)} | To {Date (Hours)} | Duration |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Days | Hrs. | Mins. |
| 1 | Unit-1 | 2009-10 | 03.01.10 (0240) | 04.04.10 (0635) | 91 | 3 | 55 |
| 2 | Unit-2 | 2012-13 | 31.07.12 (1740 | 22.10.12 (0840) | 82 | 15 | 0 |
| 3 | Unit-3 | 2014-15 | 19.05.14 (0910) | 26.08.14 (0455) | 98 | 19 | 45 |
| 4 | Unit-4 | 2008-09 | 13.11.08 (1635) | 17.02.09 (1240) | 95 | 20 | 5 |
| 5 | Unit-5 | 2004-05 | 01.02.04 (1555) | 07.06.04 (0145) | 126 | 9 | 50 |
| 6 | Unit-6 | 2008-09 | 20.10.08 (1250) | 22.02.09 (1030) | 124 | 21 | 40 |
| 7 | All Six Units | 2008-09 | 18.09.08 (0800) | 20.10.08 (1020) | 32 | 2 | 20 |

6. Station: Best Ever Record on a Single Day.

| Sr. No. | Parameter | Date | Value |
| --- | --- | --- | --- |
| 1 | Generation | 29.10.09 | 31.13 MUs (102.94% PLF) |
| 2 | Wagon Unloading | 21.02.10 | 622 No. (11 Rakes) |