TELEPHONIC MESSAGE

Msg. No: 493 /11							Dated:-06.12.2011

To

1) All EIC/CEs (DS), PSPCL

2) All Dy. CEs/SEs (DS), PSPCL

Subject: Power Regulatory Measures on LS General & Rolling Mill Consumers, Arc/ Induction Furnace Industrial Consumers (Except Essential & Other exempted categories).

It is decided to amend Power Regulatory measures which were imposed through this office power regulatory measures telephonic message no. 102/11 dt 16.11.2011 as under. The New Power Regulatory Measures will remain applicable w.e.f 07-12-2011 till further orders.

1.	One Weekly off Day (12 hours) on LS General Industrial Consumers and Rolling Mill Consumers being fed from Cat‐2 & 3 Feeders .Timings of weekly off day for General industry & Rolling Mill Consumers will be from 0600 hrs to Start of Peak Load Restriction hrs. of the same day

2. 	Four Weekly off Days (12 hours each day) on Arc/Induction furnaces                                                                                consumers fed from Cat-2 and Cat-3 feeders. If first Weekly off Day of these consumers is falling on 06.12.2011, then these consumers will observe 2nd Weekly off Day on 07.12.2011 and so on. Similarly if second Weekly off Day of these consumers is falling on 06.12.2011, then these consumers will observe Third Weekly off day on 07.12.2011 and so on. If Third Weekly off Day of these consumers is falling on 06.12.2011, then these consumers will observe Fourth Weekly off day on 07.12.2011 and so on. Timings will be from 0600 HRS of the day to start of Peak Load Restrictions hours of each day i.e. if first WOD falls on 06.12.2011 timings will be from 0600 HRS of 06.12.2011 to the start of PLR of 06.12.2011 and so on.

Note:

- Arc /Induction Furnace, consumers can  use total 10% of SCD as restricted load during off peak Load hours on  their Weekly off days.

- Rolling Mill consumers has been attached with the general category of consumers for the purpose of thease regulatory Measures

- FOR ALL LS INDUSTRIAL CONSUMERS: Regarding peak load, it is clarified that all LS consumers can use the load up to the limit i.e restricted/exempted load allowed to them during peak load Hours against PLEC.

- There is no restriction on the import of open access power by the consumers on weekly off days.

- Days of Weekly off Days will remain    unchanged as already intimated

Dy. CE/PR

For EIC/PP&R, P